Understanding A Medical Diagnostic Test:

Rapid Covid 19 Antigen Test

Esther Odaibo

ITAI-4375: AI in Healthcare

Professor Dr. Doreen Rosenstrauch

February 14, 2026

Introduction

A medical diagnostic test helps doctors and diagnosticians determine with a degree of specificity if a person has an illness. One recent diagnostic test commonly used is the rapid COVID-19 antigen test. This test is designed to rapidly check if a person has been infected with the COVID-19 virus. It became widely used during the COVID-19 pandemic because it can provide results in a short time and can often be used at home or in clinics.

Test Purpose

The rapid COVID-19 antigen test is used to detect proteins (antigens) from the COVID-19 virus. The test helps identify people who are actively infected and may be contagious. Results are usually available within fifteen to thirty minutes (Centers for Disease Control and Prevention [CDC], 2023).

Reliability

This test works best when a person has symptoms. In symptomatic individuals, the test can correctly identify most active infections. However, it may miss some cases, especially when the viral load is low or when testing is done very early or late in the infection (CDC, 2023).

Sensitivity and Specificity

Sensitivity refers to how well a test can correctly identify people who do have the illness. A highly sensitive test detects most true positive cases.

Specificity refers to how well a test correctly identifies people who do not have the illness A highly specific test produces few false positives.

Rapid antigen tests generally have lower sensitivity than laboratory PCR tests but high specificity, meaning false positives are uncommon (FDA, 2022).

False Positives

The test can sometimes have false positives or false negatives. A false negative test means the test result is negative even though the person is infected. This is more likely if the test is taken too early or without symptoms. False positives are less common.

Who Might Need This Test and Why

This test is useful for people with COVID-19 symptoms, those exposed to someone with COVID-19 or individuals who need quick results for work, school, or travel. It helps reduce the spread of infection by identifying contagious individuals quickly.

Opinion of the Test

I believe the rapid COVID-10 antigen test is a good diagnostic tool when used correctly. It is fast, affordable, and easy to use. While it is not perfect, especially when compared to PCR testing, it plays an important role in early detection and public health protection.

References

Centers for Disease Control and Prevention. (2023). Overview of testing for SARS-CoV-2 (COVID-19). https://www.cdc.gov/covid/testing/index.html

U.S. Food and Drug Administration. (2022). At-home COVID-19 diagnostic tests. https://www.fda.gov/medical-devices/coronavirus-covid-19-and-medical-devices/home-otc-covid-19-diagnostic-tests